98

IJPAR |Volume 2 | Issue 3 | July-Sep - 2013                                     ISSN: 2320-2831

Available Online at: www.ijpar.com

[Research article] Analytical   method   development   and   its   application   to   extractive

spectrophotometric determination of Co (II) using 1, 2-Propanedione, 1- phenyl-1-(2-hydroxybenzylideneazine)-2-oxime (PDPHBAO).

Sushama. M. Lele , Poonam. P. Shevde, Rama. S. Lokhande.

Department of Chemistry, University of Mumbai, Vidyanagri, Santacruz (E), Mumbai – 400 098, India.

ABSTRACT

The reagent was synthesized and characterization was carried out by FTIR, NMR, elemental analysis as well as Mass spectrometry. The synthesized reagent was then applied for the development of the analytical method for the  extractive  spectrophotometric determination of  cobalt  (II).  Cobalt  metal  forms  pale  yellow  coloured complex, which can be extracted in chloroform at pH 9.4 having absorption maxima at 415 nm. Beer’s law is obeyed in the concentration range 1-8.00 μg. The molar absorptivity and Sandell’s Sensitivity of the extracted species are 7.1724 X 103 Lit mol-1 cm-2 and 8.2165 X 10-3μg cm-2 respectively. The developed method is highly sensitive, selective, simple, rapid, accurate, and has been satisfactorily applied for the determination of cobalt in the synthetic mixtures, pharmaceutical samples, and alloys.

Keywords; Characterization; Cobalt; Extractive Spectrophotomertic determination; pharmaceutical samples.

INTRODUCTION

The significance of cobalt as a transition metal lies in its wide spectrum of applications covering many frontier  areas  of  study,  particularly in  medicine. Even though cobalt is not considered to be as toxic as  most  of  the  heavy  metals,  it  is  an  equally harmful element. Hence owing to the significance

of   cobalt,   its   determination   from   associated

coloured complexes [10, 11], which are extractable in organic solvents.

A  wide  variety  of  Chelating  agents  like  2/    -

hydroxy -4/- ethoxy -4 – methoxy chalcone oxime [12], 2 -(6-methyl-2-benzothiazolylazo)-5-diethyl amino phenol [13], 1-(1,3,4 – triazol-2- ylazo)-2- naphthol [14], 2-(1,2,4 – triazol -5-ylazo)-5- (dimethyl amino) benzoic acid [15], Pyridine -2-

/

elements by extractive spectrophotometry has been

acetaldehyde salicyloyl Hydrazone [16], N,N

- bis

of considerable importance.

Several isonitroso compounds [1,2], oximes [3-7], semicarbazones and thiosemicarbazones [1,8,9] have been used for the extraction and spectrophotometric determination of metal ions. They react with transition metal ions to give

(2-amino Benzoyl) ethylene diamine [17],  Meso –

tetrakis-(3-chloro-4-sulphophenyl) Porphyrin [18],

1-(5-nitro-2-pyridylazo)-2,7-dihydroxy

Naphthalene  [19],  5-(O-  carboxyphenylazo)-2,4- dihydroxy benzoic acid [20], (2-arsonophenyl-azo)-

8- amino quinoline [21],  α-benzyl monoxime [22],

2   H   –   Benzopyran   -2-   one-3-   acetyl   thiose

* Corresponding author: Poonam.P.Shevde.

E-mail address: poonam_p_shevde@yahoo.in

99

Poonam.P.Shevde et al / Int. J. of Pharmacy and Analytical Research Vol-2(3) 2013 [98-102]

micarbazone [23], 2-(2-quinolinylazo)-5-dimethyl amino benzoic acid [24], 5-(4- chlorophenylazo) -

8- (benzenesulphonamido) quinoline [25], 2,4- dihydroxy-5-nitropropiophenone [26], 2-(5- carboxy- 1,3.4  –  triazolylazo) -5-  diethyl  amino aniline [27], Pyridoxal-4- phenyl-3- thiosemicarbazone [28] and α-oximino- Acetoacetanilide  benzoyl hydrazone [29] etc have been reported for the spectrophotometric determination of cobalt.

However  these  methods  suffer  from  limitations such as critical pH [13,15,19,23], low stability of complex [14], requirement of surfactants [20] or other agents [24], requirement of heating [21], and interference from some ions [21,27],inconvenient extractant [30] etc. A method, far superior in sensitivity and selectivity to these reported in the literature [12, 16-18, 22, 25-30] is developed for the extractive spectrophotometric determination of cobalt with 1, 2-Propanedione, 1-phenyl-1-(2- hydroxybenzylideneazine)-2-oxime   (PDPHBAO). A close literature survey indicates that PDPHBAO has so far not been employed for either co- ordination or analytical studies. The developed method is highly sensitive, selective, simple, rapid, accurate, and has been satisfactorily applied for the determination of cobalt in the synthetic mixtures, pharmaceutical samples, and alloys. The proposed method is free from many limitations.

EXPERIMENTAL

The PDPHBAO was synthesized [ 31, 32, 33] characterized [34] and used for extractive spectrophotometric  determination  of  Cu(II)     A stock solution (0.5  mg  ml-1)  of PDPHBAO was prepared by dissolving 0.05  g  of the  reagent in

100ml methanol to give 0.02% reagent solution of

PDPHBAO.

Cobalt (II) Solution

A   weighed   quantity   of   cobalt   sulphate   was dissolved in double distilled water containing dilute sulphuric acid and then diluted to the desired volume  using double  distilled  water.  The  cobalt solution  was  then  standardized by  nitroso-R-salt method[31].

Recommended procedure

Mix 1cm3  aqueous solution containing 1-100µg of cobalt and 1 cm3 of 0.02 % methanolic solution of PDPHBAO in 25 cm3 beaker. Adjust the pH of the solution to required value with dilute solution of H2SO4 and NaOH. Make the final aqueous volume up to 10 cm3. Transfer the solution into 125 cm3

separating funnel and equilibrate for 1min with 10 cm3  chloroform. Allow the two phases to separate and measure the absorbance of the organic extract containing the complex at 415 nm against reagent

blank.

Calibration Plot                                                                   Slope ratio plot

1.0

1.8

1.6

0.8

1.4

1.2

0.6

1.0

0.8

0.4

0.6

0.4

0.2

0.2

0          1          2          3          4          5          6          7          8          9

0.0

-3.6                -3.4                -3.2                -3.0                -2.8

log R

Co (II) Concentration

In  µg / ml

RESULTS AND DISCUSSION

| Condition | Results |
| --- | --- |
| Absorption Maxima | 415 nm |
| Solvent | Chloroform |
| pH range | 9.2-9.6 |
| Equilibration time | 30 seconds |
| Stability of Cobalt-PDPHBAO | 48 h |
| Beer’s range | 0.1 to 8.0 μg ml-1 |
| Molar absorptivity | 7.1724X 103 Lit mol-1 cm-1 |
| Sandell’s sensitivity | 8.2165 X 10-5 µg / cm2 |
| Mole Ratio of Co : PDPHBAO | 1 :2 |

Effect of foreign ions                                                                     a Masked with iodide

| Ions | Amt | Ions | Amt |  | Ions | Amount added |
| --- | --- | --- | --- | --- | --- | --- |
| Cl - | 30 mg | Ti | 10mg |  | Mo(VI) | 8 mg |
| Br - | 30 mg | Pt | 10µg |  | V(VI) | 5 mg |
| I - | 20 mg | Ni | 10µg |  | Th(IV) | 5 mg |
| F - | 20 mg | Cu | 10µg |  | U(VI) | 2 mg |
| ClO3 - | 10 mg | Pd | 10µg |  | Zr(II) | 2mg |
| BrO3 - | 10 mg | Fe(II) | 5µg |  | Tl(I) | 2 mg |
| IO3 - | 10 mg | Fe(III) | 10µg |  | Ag(I)a | 5 mg |
| SO3 - | 10 mg | Cr(II) | 1mg |  | Rh(II) | 2 mg |
| SO4 - | 20 mg | Te(IV) | 10mg |  | Ba(II) | 5 mg |
| S2O8 - | 25mg | Cd(II) | 2 mg |  | Na(I) | 20 mg |
| Cr2O7-2 NO2 - NO3 - | 10mg 25mg 30 mg | Mn(II) Al(III) Ca(II) | 5 mg 10 mg 10 mg |  | K(I) | 20mg |
| Urea | 20 mg | Zn(II) | 10 mg |  |
| Thiourea | 20 mg | Ce(IV) | 5 mg |  |
| CrO4-2 | 15mg | Mg(II) | 10 mg |  |
| Acetate | 30 mg | Li(II) | 5 mg |  |
| Tartarate | 10 mg | As(II) | 10µg |  |
| Oxalate | 10 mg | Pb(II) | 5µg |  |
| Phosphate | 10 mg | Cr(II) | 5 mg |  |

Poonam.P.Shevde et al / Int. J. of Pharmacy and Analytical Research Vol-2(3) 2013 [98-102]

101

APPLICATIONS

Analysis of synthetic mixtures                                                    Analysis of real samples

Amount

Foundb

Sr. No.

Sample                 Amount of Co (II)

9.98

9.98

I	Pharmaceutica lSamples

Certified

Value

Found

9.98

1         Surbex –T

(Abott)

0.337mg          0.336mg

9.97

9.91

a   Values  given  are  in  microgram  amount  of  the metals.

b Average of five determinations.

CONCLUSION

The proposed method is more highly sensitive and selective than the reported methods for the extractive spectrophotometric determination of microgram amounts of cobalt. It offers advantages

like reliability and reproducibility in addition to its

2         Vitamin B12         50mg               49.96mg

II        Cobalt alloys

1         Cobalamine          68.9%              68.8%

2         Steel                      9.67%              9.65%

III      Vegetable Oil       0.0020%          0.0019%

simplicity, instant colour development and suffers from less interference. It has been successfully applied to the determination of cobalt at trace level in synthetic mixtures, pharmaceutical samples, vegetable oils and alloys.

REFERENCES

[1]  B. J. Desai, V. M. Shinde, Microchim Acta 1 (1980) 93.

[2]  U. B. Talwar, B. C. Haldar, Anal Chim. Acta 51 (1970) 53.

[3]  U. Muralikrishna, A. Sivaramakrishna, Asian J. Chem. 13 (2001) 289.

[4]  A. B. Bhatt, K. K. Desai, J. Inst. Chemists (India) 61 (1989) 5.

[5]  D. Vijaykumar, R.C. Hussain, N. Appalaraja, J. Ind.Chem. Soc. 67 (1980) 786.

[6]  K. K. Desai, H. B. Naik, Ind. J. Chem. 25A, (1980) 297. [7]  B. D. Desai, K. K. Desai, Asian J. Chem. 13 (2001) 366. [8]  M. V. Naik, N. V. Thakker, Ind. J. Chem. 34A (1995) 410.

[9]  R. S. Lokhande, S. V. Poman, U. R. Kapadi, Asian J. Chem. 13 (2001) 1223.

[10] F. Feigl, Chemistry of specific selective and sensitive reaction, Academic press, New York, 1949.

[11] R. G. Desmukh, N. V. Thakkar, Ind. J. Chem. 24A (1985) 1066.

[12] J. J. Desai, P.G. Desai, A. G. Mehta,. Asian J. Chem.12 (2000) 1067.

[13] Y.Tang, Y. Q. Shu. L. Jianyan, Huaxue Fence 36 (2000) 370.

[14] Q. Y. Ye, H. J. Jiang, W. P. Zhou, Fenxi Shiyanshi 19 (2000) 40. [15] Q. Y. Ye, H. H. Jianga, D. M. Han, Fenxi Shiyanshi 19 (2000) 52. [16] S. S. Patil, A. D. Sawant, Ind. J. Chem. Technol. 8 (2001) 88.

[17] K. P. Girishkumar, K.R. Muthuselvi, Microchim. Acta 137 (2001) 25.

[18] J. Li, J.W. Zhang, H. S. Zhang, Fenxi Kexue Xuebao 17 (2001) 387.

[19] J. J. Sun, Y. W. Bai, B. Liu, X. L. Wang, Lihau Jianyan Huaxue Fence 37 (2001) 394.

[20] A. S. Amin, I. S. Ahmed, M. E. Moustafa, Anal. Lett. 34 (2001) 749.

[21] M. Ji, J. M. Xu, B. C. Wu, Huaxue Fence 37 (2001) 542.

[22] H. Eskandari, H. S. Ghaziaskar, A. A. Ensaf, Anal Sci. 17 (2001) 327.

[23] R. S. Lokhande, N. Shrinivasan, A. B. Chaudhari, J. Ind. Coun.Chem. 19 (2002) 12.

[24] L. Zhang, Y. Guanyu, W. Boxing, J. Ciquing, Y. Giayuang, Anal. Bioanal. Chem. 374 (2002) 1318.

[25] Y.X. Rong, C. Qiu-E, D.Z. Tao, Z. H. You, L. Zu-Bi, Guangpu Shiyanshi 19 (2002) 373.

[26] N. B. Patel, K. K. Desai, Asian J. Chem. 14 (2002) 1769.

[27] L. Huading, P.Fuyou, G. Changhua, L. Jianyan, Huaxue Fence. 38 (2002) 33.

[28] S. L. Subramanyan, K. J. Rajesh, A. Varada, Anal. Lett. 36 (2003) 605.

[29] P.V. Jagasia, D. P. Dave, J. Ind. Chem. Soc. 80 (2003) 145.

[30] A. I Vogel, Textbook of Quantitative Inorganic Analysis, 3rd ed., London, (1975).

[31] J.Noyes. J.Am.Chem.Soc. 55, 388 (1933).

[32 ] W. Hartung and J. C. Munch. J. Am. Chem. Soc. 51,2264 (1929). [33] R. G. Deshmukh. Ph. D. Thesis. University of Mumbai. (1992). [34] S. M. Lele, Ph. D. Thesis. University of Mumbai. (2008).

*******************************

# Text boxes

Absorbance

log  D

| No. | Synthetic mixture Compositiona |
| --- | --- |
| 1 | Co(10)+Zn (10)+ Ca (10) |
| 2 | Co (10) + Mo (10)+Tl(10) |
| 3 | Co(10) +Mg(10)+Ba(10) |
| 4 | Co(10) + Pb (10)+Al(10) |
| 5 | Co (10) + U (10) +Te (10) |